QUESTIONNAIRE LIST

PROCESS ODORANT

GAS ANALYZER

ANOD

To get a technical and commercial proposal fill in this questionnaire and send it to NTF BACS LLC, e-mail: kom@bacs.ru or via fax: (846) 932-05-71

| General Information |
| --- |
| Company |  | Date |  |
| Customer’s full name |  | Phone, e-mail |  |
| Questionnaire No. |  | Quantity |  |

1. Facility__________________________________________________________________________________

2. Purpose of analysis_____________________________________________________________________________

(gas quality control, process control, STO)

3. Specify the version:  AnOd KC 50.250-000       AnOd Transmitter KC 50.250-000-01

4. Specify planned installation points number:

5. Specify approximate concentration of other components (if there are other components not mentioned in the document, please specify them together with concentration value):

| Components | Content, mg/m3 |
| --- | --- |
|  | Min | Max |
| Mercaptan sulfur (measured component) |  |  |
| Hydrogen sulfide |  |  |
| Methanol |  |  |

6. Unsaturated hydrocarbons in the gas _____________________ concentration, mg/m3  _____________

7. Solids (size, composition) _______________  concentration, mg/m3  _________________

8. Hydrogen in gas, concentration, mg/m3  _____________ СО, concentration, mg/m3  _________________

9. Corrosive compounds in gas (specify)_____________________ concentration, mg/m3  _______________

| 10. | Gas and ambient parameters | Min | Norm | Max |
| --- | --- | --- | --- | --- |
|  | Analyzed gas pressure at sampling point, MPa |  |  |  |
|  | Temperature: analyzed gas at sampling point, °С |  |  |  |
|  | ambient temperature at sampling point, °С |  |  |  |
|  | ambient temperature at installation site, °C |  |  |  |
|  | Dew point temperature (water) at operating pressure, °C |  |  |  |

11. Sampling probe needed

yes       no:  Fitting type at mounting point ____________________________

12. Pipeline parameters at the sampling point

|  | Gas pipeline diameter, mm | Pipeline material | Length of the sample feed lines from sampler to the device, m |
| --- | --- | --- | --- |

13. Outer diameter of the sample feed tube from existing sampling point

mm,  inches _________________

14. Installation point (analyzer room, GDP room, open site, after odorization systems, or other) ______________________________________________________________________

15. Distance to odorization package (for installation at GDS), m ______________________

16. Distance from analyzer to sample discharge point, m _________________________________

17. Outer diameter of the sample discharge line,  mm,  inch _______________________

18. Distance from analyzer to power board (along the cabling line), m _____________

19. Distance from analyzer to work station (along the cabling line), m _____________

| 20. | Additional equipment | personal computer | industrial desktop computer |
| --- | --- | --- | --- |
|  |  | laptop | industrial desktop computer (for 19” rack installation) |

| 21. | Data transmission channel | Modbus TCP Ethernet | Other _____________________________________________________________________________________________________________________ |
| --- | --- | --- | --- |
|  |  | Modbus RTU RS232/485 |  |
|  |  | 4-20 mA (1 channel) |  |

| 22. | Equipment and components supplied by Customer’s request |
| --- | --- |
|  | For analyzer installation: heated cabinet | 10 l cylinder with calibration gas (only for Transmitter version) Cylinder rack for calibration gas Rack for analyzer Uninterrupted power supply 19” rack Power cable Data transmission cable Sample feed line |
|  |  | heated non-heated Sample discharge line |

23. Odorization system control needed:

yes	    no

Specify the protocol _____________________________________________________________

24. Other requirements ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Date _____________20___  .                  Signature ________________ /_______________________/

Full Name