QUESTIONNAIRE LIST

Process Gas Chromatograph

for natural gas

composition analysis

MAG

| General Information |
| --- |
| Company |  | Date |  |
| Customer’s full name |  | Phone, e-mail |  |
| Questionnaire No. |  | Quantity |  |

To get a technical and commercial proposal fill in this questionnaire and send it to NTF BACS LLC, e-mail: kom@bacs.ru or via fax: (846) 932-05-71

1. Facility__________________________________________________________________________________

2. Purpose of analysis_____________________________________________________________________________

(gas quality control, process control, etc.)

3. Composition of analyzed gas:

| Component | Concentration, % v | Specify measured component | Component | Concentration, % v | Specify measured component |
| --- | --- | --- | --- | --- | --- |
|  | Min | Norm | Max |  |  | Min | Norm | Max |  |
| СН4 |  |  |  |  | n-С5Н12 |  |  |  |  |
| С2Н6 |  |  |  |  | С6+ |  |  |  |  |
| С3Н8 |  |  |  |  | СО2 |  |  |  |  |
| i-С4Н10 |  |  |  |  | СН3ОН |  |  |  |  |
| n-С4Н10 |  |  |  |  | N2 |  |  |  |  |
| i-С5Н12 |  |  |  |  |  |  |  |  |  |

4. Other components in gas__________________________________________________________

5. Sulfur compounds in gas _____________________ concentration, mg/m3  _______________

6. Solids (size, composition) _______________  concentration, mg/m3  _________________

7. Installation point (analyzer room, heated box, other) ________________________________

8. Distance from chromatograph to sample discharge point, m _________________________________

9. Outer diameter of the sample discharge line,  mm,  inch _______________________

10. Distance from chromatograph to power board (along the cabling line), m _____________

11. Distance from chromatograph to workstation or additional equipment (along the cabling line), m ________________

12. Sampler needed

yes:

|  | Gas pipeline diameter, mm | Pipeline material | Length of the sample feed lines from sampler to chromatograph, m |
| --- | --- | --- | --- |

no:

Sample feed line length from sampling point to chromatograph, m

______________________

Outer diameter of the sample feed tube from existing sampling point

mm,  inches _________________

13. Heated gearbox needed:

yes    no

14. Sample conditioning package needed:

yes:

on panel

in cabinet

no

15. Separate nitrogen and oxygen concentration measurements required (in molar percentage):

yes           no.

15.1. Oxygen concentration measurement method:

online oxygen analyzer:

AnOx oxygen analyzer, produced by STF BACS LLC

other _______________________________________________________

Laboratory analysis (oxygen concentration is entered into chromatograph manually)

15.2. Oxygen analyzer needed:

yes

no

16. Number of sampling points __________________________________________________________

! With 2 or more sampling points specify pipeline diameter, gas temperature and specify gas composition at each sampling point.

17. Gas composition monitoring frequency at every point ______________________________________

| 18. | Gas and ambient parameters | Min | Norm | Max |
| --- | --- | --- | --- | --- |
|  | Analyzed gas pressure at sampling point, MPa |  |  |  |
|  | Analyzed gas temperature at sampling point, °С |  |  |  |
|  | ambient temperature at sampling point, °С |  |  |  |
|  | ambient temperature at chromatograph installation point, °C |  |  |  |
|  | Dew point (water) at gas operating pressure, °С |  |  |  |
| 19. | Additional equipment | personal computer | industrial desktop computer |
|  |  | laptop | industrial desktop computer (for 19” rack installation) |

| 20. | Data transmission channel | Ethernet: Modbus TCP Chromatograph configuration and setup Specify data transmission line length ___________________ m ! For length more than 50 m additional modem shall be installed |
| --- | --- | --- |
|  |  | RS232/485: Modbus RTU Specify data transmission line length ___________________ m |
|  |  | Other |
| 21. | Information display and input into chromatograph | Touchscreen LCD |
| 22. | Equipment and components supplied by Customer’s request |
|  | To install chromatograph: heated block box (4.2 x 2.2 x 2.8 m) with emergency ventilation and gas hazard monitoring heated cabinet (1.7 x 0.8 x 0.45 m) with cabinet for cylinders with carrier gas (1.7 x 0.8 x 0.45 m) | To install additional equipment: heated block box (4.2 x 2.2 x 2.8 m) | 10 l cylinder with calibration gas 40 l cylinders with carrier gas Cylinder rack for carrier gas Cylinder rack for calibration gas Rack for chromatograph Uninterrupted power supply 19” rack Power cable Data transmission cable Sample feed line heated non-heated Sample discharge line |

23. SPTA needed:

yes:

Specify for how many years _________________________

no.

24. Other requirements ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Date _____________20___  .                  Signature ________________ /_______________________/

Full Name