QUESTIONNAIRE LIST

Process Gas Chromatograph

MAG

NTF BACS LLC

Phone: +7(846) 267 38 12/13/14

e-mail: kom@bacs.ru

| Information |
| --- |
| Contractor |  | Phone |  |
| Contact Person |  | e-mail |  |

1.Object _______________________________________________________________________________________

2. Production or process___________________________________________________________________________

2.Purpose of analysis______________________________________________________________________________

4.Quantity______________________________________________________________________________

( quality control, technological control etc.)

3. Composition of analyzed fluid

| № | Component | Concentration | Mark–which component is to be analyzed | Units of measurement |
| --- | --- | --- | --- | --- |
|  |  | Min | Norm | Max |  |  |

4. Phase of analyzed fluid (gas or liquid) ___________________________________________________________

5. Presence of other components __________________________________________________________________

6. Presence of sulfur compounds  _________________________concentration, mg/m3  _____________

7. Presence of solid phase components (size, structure) __________________________ concentration, mg/m3  _______

| Pipe diameter, mm | Material of pipe | Length of pipeline, supplying the sample from sampler to the chromatograph |
| --- | --- | --- |

8.Quantity of sampling points_____________________________________________________________________

! If the quantity of sampling points is 2 or more – it is necessary to provide the diameter of pipeline, temperature of gas and indicate sample composition for each point.

9. Frequency control of gas composition at each point____________________________

| № | Parameter |  |
| --- | --- | --- |
|  |  | Min | Norm | Max |
| 1 | Pressure of gas at sampling point, MPa |  |  |  |
| 2 | Temperature: of gas at sampling point, С |  |  |  |
|  | of environment at sampling point, С |  |  |  |
|  | of environment at place of installation of chromatograph, С |  |  |  |
| 3 | Dew point (by moisture) at operating pressure of gas, С |  |  |  |

| Workstation of GC | personal computer | industrial computer of desktop performance |
| --- | --- | --- |
|  | notebook | industrial computer (designed of installation to 19”- stand) |

10. Distance (through cable routing) from place of installation of chromatograph to the point of installation of workstation _______ m

11. Distance from place of installation of chromatograph to waste point: __________m

| Data transmission | Modbus TCP |
| --- | --- |
|  | Modbus RTU RS232/485 |
| Display and input of data | TouchScreen |
|  | LCD screen |

| Next equipment and accessories are available on request |
| --- |
| For installation: heated block box (4,2х2,2х2,8м) with emergency ventilation and gas control | For working station heated block box (4,2х2,2х2,8м) | Cylinder 10 l with calibration gas Cylinder 40 l with carrier gas Rack for cylinders Uninterruptible power supply 19” rack |

Other requirements _________________________________________________________________________

_________________________________________________________________________________________

Date     ____________________20__   			Signature_____________________________