QUESTIONNAIRE LIST

COMPLEX

for pyrolysis gas analysis

| General Information |
| --- |
| Company |  | Date |  |
| Customer’s full name |  | Phone, e-mail |  |
| Questionnaire No. |  | Quantity |  |

To get a technical and commercial proposal fill in this questionnaire and send it to NTF BACS LLC, e-mail: kom@bacs.ru or via fax #: (846) 932-05-71

Facility__________________________________________________________________________________

Production or process __________________________________________________________________

Purpose of analysis_____________________________________________________________________________

(for instance, process control, commercial metering, etc.)

Composition of analyzed gas:

| Item No. | Specify components | Specify detected components | Concentration | Unit, % v, mg/m3, ppm |
| --- | --- | --- | --- | --- |
|  |  |  | Min | Norm | Max |  |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |

Physical state of analyzed product ________________________________________________

# Properties of analyzed product in sampling point

| Item No. | Parameter | Min | Norm | Max |
| --- | --- | --- | --- | --- |
| 1 | Operating pressure, MPa |  |  |  |
| 2 | Temperature, (С |  |  |  |
| 3 | Water dew point at operating pressure, (С (for gas) |  |  |  |
| 4 | Boiling temperature, (С (for liquids) |  |  |  |

Solids (size, composition) _______________  concentration, mg/m3  _________________

Stability: polymerization, decomposition etc. ______________________________________________

Corrosive components (acids, sulfur compounds)________________________________

Approximate concentration, mg/m3  ___________________________________________________________

Ambient temperature in sampling point           Max ___________ 	Min _________

Number of sampling points____________________________________________________________

! With 2 or more sampling points specify pipeline diameter, gas temperature and specify gas composition at each sampling point.

Analysis time  ________________________________________________________________

|  | Gas pipeline diameter, mm | Pipeline material | Length of the sample feed lines from sampler to chromatograph, m |
| --- | --- | --- | --- |

Physical state and pressure (MPa) at discharge point __________________________________________

### Analyzer installation point (chromatograph)

Ex class at installation point_______________________________________________

Air humidity at installation point, no more than _____________________________________%RH

Corrosive substances in the air  yes:	                                                   no

_______________________(specify which)

Temperature in chromatograph installation point, (С

max _______________	              min ______________

Room available (box/heated cabinet) for chromatograph installation                                              yes	                                    no                                   supply required

Fast loop needed                 yes	                         no

Fast loop line diameter, mm __________________________________________

### Data transmission

|  | Additional equipment | personal computer | industrial desktop computer |
| --- | --- | --- | --- |
|  |  | laptop | industrial desktop computer (for 19” rack installation) |

| Data transmission channel | Ethernet: Modbus TCP Chromatograph configuration and setup Specify data transmission line length ___________________ m ! For length more than 50 m additional modem shall be installed |
| --- | --- |
|  | RS232/485: Modbus RTU Specify data transmission line length ___________________ m |
|  | Other |

| Information display and input into chromatograph | Touchscreen LCD |
| --- | --- |

| Equipment and components supplied by Customer’s request |
| --- |
| To install chromatograph: heated block box (3.0 x 2.5 x 2.8 m) with emergency ventilation and gas hazard monitoring heated cabinet (1.8 х 1.3 х 2.5 m) with lighting system heated cabinet (1.7 x 0.8 x 0.6 m) with cabinet for cylinders with carrier gas (1.7 x 0.8 x 0.45 m) | To install additional equipment: heated block box (4.2 x 2.2 x 2.8 m) | 10 l cylinder with calibration gas 40 l cylinders with carrier gas Cylinder rack for carrier gas Cylinder rack for calibration gas Rack for chromatograph Uninterrupted power supply 19” rack Power cable Data transmission cable Sample feed line heated non-heated Sample discharge line |

### Gas feed (available from the Customer)

Instrumentation air 	pressure, MPa ____________		  Hydrogen

Nitrogen					  		  Argon

Helium				  			  Reference gas

### Other data

SSRS (state standard reference sample) for calibration 	 yes	              no

Customer has an operator room	  	 yes	                         no

Laboratory analysis for this task exists          yes	                       no

Specify if the following is necessary:

- installation supervision					 yes	                         no

- commissioning operations				  yes	                         no

- servicing personnel training			 yes	                         no

- operational maintenance			 yes	                         no

SPTA needed:

yes:

Specify for how many years _________________________

no.

Other requirements ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Date _____________20___  .                  Signature ________________ /_______________________/

Full Name